## Slide 1
The Energy-Water Nexus: Challenges and Opportunities
October 21, 2014 AMWA Annual Executive Management Conference
Kristen Averyt, PhD
University of Colorado Boulder
Associate Director for Science
Cooperative Institute for Research in Environmental Sciences
Western Water Assessment

## Slide 2: The Energy-Water Nexus
DOE 2006
US Electricity Sector:
41% of total withdrawals
5% of total consumptive use
US Water Sector:
~13% of the US electricity supply
Southwest Electricity Sector:
~7% of total withdrawals
~2% of total consumptive use
Southwest Water Sector:
>20% of the SW electricity supply
Notes: But what I am gong to be discussing today are the connections between energy and water
-- energy resources require water, and water requires energy
-- nationally: US electricity

## Slide 3
EW3, 2011

## Slide 4
EW3, 2011

## Slide 5: National Power Plant Water Withdrawals (2008)
Averyt et al. 2011, 2013a

## Slide 6: Water for Power
Averyt et al., 2011; Macknick et al. 2012; National Climate Assessment, 2014

## Slide 7
Coal Fired Power Plant

## Slide 8
Nuclear
Concentrated Solar Power

## Slide 9
Natural Gas

## Slide 10
Wind
Photovoltaic

## Slide 11
Carbon Capture and Storage

## Slide 12
EW3, 2013
Energy-Water Collisions: 2006–2009
Hydro Critical Level: 950–1050 ft
A year ago:
1107 ft
Max:
1220 ft
Today:
1081 ft

## Slide 13
NARUC Resolution

## Slide 14
Averyt et al., 2013
National Climate Assessment, 2014
Power for Water: Water Stress (1999–2007)

## Slide 15
Averyt et al., 2013; Twomey and Weber, 2011;
National Climate Assessment, 2014
4,000
kWh/million gallons
12,700
kWh/million gallons
2,700
kWh/million gallons
5,000
kWh/million gallons
Energy Intensity of Water Supply

## Slide 16
0
2
4
6
8
10
Seawater (Desalination)
Wastewater Reuse
Wastewater Treatment
Groundwater
Lake or River
MWh per 1000 m3
WBCSD & CFSGAM Research
1000 m3 = 264,000 gallons
1233 m3 = 1 acre ft
Energy Intensity of Water Supply

## Slide 17
Water Treatment Plants (15,000)
Drinking Water Plants (200,000)
80% of energy use for pumping
Energy use for aeration, pumping, & solids processing
2nd highest budget item after labor
Municipalities: energy expenses 30-40% total costs
Age of system and equipment important for energy efficiency and costs
Energy Intensity of Water Supply

## Slide 18
Adapted from WRA, 2012; Skaggs et al. 2013
Energy Intensity of Current Water Systems

## Slide 19
Adapted from WRA, 2012; Skaggs et al. 2013
Energy Intensity of Proposed Water Systems

## Slide 20
Drought is expected to continue through 2015
Hydropower decline from 20% to 10% of total generation
Solar and wind increase to 30% of total generation
Nat gas increase by 16%
Heat waves: Sept & Oct peak electricity demand
Agriculture: $1.5B revenue loss-- $0.5B in pumping costs
The California Example

## Slide 21
Challenges & Opportunities
Energy savings is water savings… and vice versa
More information about energy use for self-supplied water, (e.g. agriculture), by the transportation sector, and bottled water industry is necessary
Leveraging communications infrastructure
Conservation and efficiency are opportunities for improvement
Energy and water coordinated planning and decision making to address risks
Utility of the Future?
Managing drinking water, waste, energy, carbon, and more

## Slide 22
THANK YOU
Kristen Averyt, PhD
University of Colorado Boulder
kristen.averyt@colorado.edu
Associate Director for Science
Cooperative Institute for Research
in Environmental Sciences

## Slide 23
Laws 2000; Madden et al. 2010; Averyt et al. 2011; Madden et al., 2013
Peak summer temperatures for return flows from more than 350 power plants exceeded 90°F in 2008
Temperature Limitations

## Slide 24
Water for Hydraulic Fracturing

## Slide 26
Hoover Dam
2,080-MW
80% of peak power in 5 Western States
Generation: 23% drop
5.7 megawatts/ft drop
The Future?
20% chance by 2025
Hydro Critical Level: 1050 ft
Lake Mead & Hoover Dam
Today
1081 ft (down 26 ft)

## Slide 27
National Climate Assessment, 2014

## Slide 28
National Climate Assessment, 2014

## Slide 29
Averyt et al., 2013
Power for Water: Water Stress (2050)